# Page 1 of 3

|  |  |  |  |
| --- | --- | --- | --- |
| **LAB LOCATION:** | **AZADI CO., LTD** | **REPORT NUMBER:** | **221004-P10A** |
| **DATE IN:** | **Aug. 25, 2022** | **DATE OUT:** | **Sept. 25, 2022** |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Applicant:** | AZADI CO., LTD | | |  | **OVERALL RATING** | |
| **Address:** | No.518, To Ngoc Van Street, Tam Phu Ward, Thu Duc City, HCMC, Vietnam | | |
| **Contact:** | Mr. Vuong | | | **PASS** | **-** |
| **FAIL** | **-** |
| **TEL:** | 0979790959 | **FAX:** | - | **DATA** | **X** |
| **E-mail:** | vuongtm@azadi.vn | | |  |  |
| **Copy To:** | - | | |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sample Information | | | | |
| **Sample Description** | Azadi Powder Desiccant 1kg / bag for container dry | | | |
| **Style Number** | - | | | |
| **Quantity** | - | **PO Number** | | - |
| **Buyer’s Name** | - | **Manufacturer** | | AZADI CO., LTD |
| **Country of Origin** | Viet Nam | **Country of Destination** | | - |
| **Code Number** | - | **Dept/Key#** | | - |
| **Reference item/ style number** | - | **Color** | | - |
| Testing Status | | | | |
| **Pre-Shipment Lead Test** |  | **Test for Protocol** | - | |
| **Retest** | **Previous Report No.:** - | | | |

|  |
| --- |
| Sample Photos |
| **221004-P10A** |



### Modern Testing Services (Vietnam) Limited.

**JAMES NGUYEN**

**HL. DEPARTMENT MANAGER**

# Page 2 of 3

**Report Number: 76119-010351**

**EXECUTIVE SUMMARY:**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **TESTING RESULT SUMMARY** | | | | |
| **Test Property** | **PASS** | **FAIL** | **DATA** | **COMMENTS** |
| Desiccant moisture absorption | - | - | X | - |

**Client’s Requirements:**

|  |  |  |  |
| --- | --- | --- | --- |
| **TEST ITEM** | **TEST METHOD** | **TEST REQUIREMENT** | **RESULT** |
| **Desiccant moisture absorption** | MTS In-house method  H-41007 (Mod) | 20 days at 90% R.H and 40ºC Note: Testing was performed as per client’s request. | DATA  Before test: 31.20g After test: 101.71g Weight increase:  (+115%) |

# NOTE:

**Page 3 of 3**

**Report Number: 76119-010351**

## If there is question or concern regarding the above results, please contact the appropriate lab person below: Technical questions:

|  |  |  |
| --- | --- | --- |
| **Primary Contact: James Nguyen** | **Tel: +84-28-6289-6363 Ext: 173** | **Email:** [**jamesnguyen@mts-global.com**](mailto:jamesnguyen@mts-global.com) |
| **Back-up Contact: Harry Vu** | **Tel: +84-28-6289-6363 Ext: 175** | **Email:** [**harryvu@mts-global.com**](mailto:harryvu@mts-global.com) |

**Concerns About Billing and General Inquiries:**

|  |  |  |
| --- | --- | --- |
| **Primary Contact: Vincent Pham** | **Tel: +84-28-6289-6363 Ext: 114** | **Email:** [**vincentpham@mts-global.com**](mailto:vincentpham@mts-global.com) |
| **Back-up Contact: Sophia Nguyen** | **Tel: +84-28-6289-6363 Ext: 107** | **Email:** [**sophianguyen@mts-global.com**](mailto:sophianguyen@mts-global.com) |

***This test report is governed by the Terms and Conditions, available on request or accessible at http:/www.mts- global.com/en/terms.html. Attention is especially drawn to the limitations of liability, indemnification and jurisdictional provisions defined therein. This report is issued strictly based on the testing of the samples submitted by you. The test results in this report refer only to the sample(s) actually tested and do not refer or be deemed to refer to any bulk production from which such sample(s) may be said to have been obtained. In the event that MTS was requested to survey and test any bulk production quantity of samples, MTS, in the absence of any contrary written instructions, performed random sampling of bulk production for testing purposes. Variations in the conditions under which samples are stored, transported, etc., may lead to variations in the test results. MTS cannot anticipate and shall not be held responsible for variations in test results that may be due to factors beyond MTS’ control, such as, sample cross-contamination, evaporation of volatile substances due to storage temperature, humidity, etc. This report does not constitute a recommendation, actual or implied, for any specific course of action. Other than the expressed warranties made in the Terms and Conditions of the MTS Test Request Form, MTS makes no warranties or representations either express or implied with respect to this report. In no circumstances whatsoever shall MTS be liable for any consequential, special or incidental damages arising out of, or in connection with, this report.***